## IO List
Tag Number | Loop Number | Instrument Type | Signal Class | Description | P&ID Reference | Page Number | Service / Area | Process Variable | Range | Protocol | Connected Equipment | SIS / BPCS | Notes
FIT-101 | 101 | FIT | AI | Flow indicating transmitter on feed line | PID-001 | 1 | Feed System | Flow | 0-100 GPM | 4-20mA | P-101 | BPCS